## Slide 1
Marietta Borough
Public Update
Stormwater (MS4) Program
Marietta Borough Council Meeting
4/12/22 – 7:00 PM
Marietta Borough Hall
Prepared April 2022 by
Notes: Cromwell (rail); Bush Street; Old Court (rail)

## Slide 2: Presentation Outline
Overview of Marietta Borough’s Stormwater Permit
Public Education/Involvement
  Website
  Public Events
Illicit Discharge Detection, Elimination, and Reporting
Stormwater Ordinance Update
Annual Report Submissions
Pollution Reduction Plan
Questions/Comments

## Slide 3: Marietta’s Stormwater (MS4) Program
The EPA’s National Pollutant Discharge Elimination System (NPDES) permit covers small municipal separate storm sewer systems (MS4s) in certain portions of the State of Pennsylvania
  For More Info - https://www.epa.gov/npdes/npdes-permit-basics
Marietta Borough is categorized as an MS4 designated by the Pennsylvania Department of Environmental Protection (PA DEP) under the Clean Water Act (CWA) and associated regulations.
Marietta is a PAG-13 General Permit holder
MS4 owners and operators covered under this permit must manage, implement, and enforce management programs for controlling all stormwater discharges
Link to PA DEP’s NPDES General Permit Requirements

## Slide 4: Marietta’s Stormwater (MS4) Program (Continued)
Except where specifically prohibited under the “Discharges Not Authorized by this General Permit” section, this General Permit authorizes the discharge of stormwater to surface waters from regulated small MS4s. In addition, the following non-stormwater discharges are authorized by this General Permit as long as such discharges do not cause or contribute to pollution as defined in Pennsylvania’s Clean Streams Law:
  1. Discharges or flows from firefighting activities.
  2. Discharges from potable water sources including water line flushing and fire hydrant flushing, if such discharges do not contain detectable concentrations of Total Residual Chlorine (TRC).
  3. Non-contaminated irrigation water, water from lawn maintenance, landscape drainage and flows from riparian habitats and wetlands.
  4. Diverted stream flows and springs.
  5. Non-contaminated pumped ground water and water from foundation and footing drains and crawl space pumps.
  6. Non-contaminated HVAC condensation and water from geothermal systems.
  7. Residential (i.e., not commercial) vehicle wash water where cleaning agents are not utilized.
  8. Non-contaminated hydrostatic test water discharges, if such discharges do not contain detectable concentrations of TRC.

## Slide 5: What is Stormwater?
Stormwater is rainwater or melted snow that runs off streets, lawns and other sites. When stormwater is absorbed into soil, it is filtered and ultimately replenishes aquifers or flows into streams and rivers.
In developed areas, impervious surfaces such as pavement and roofs prevent precipitation from naturally soaking into the ground. Instead, water runs rapidly into storm drains, sewer systems and drainage ditches and can cause
  Downstream flooding
  Stream bank erosion
  Increased turbidity (muddiness created by stirred up sediment) from erosion
  Habitat destruction
  Combined storm and sanitary sewer system overflows
  Infrastructure damage
  Contaminated streams, rivers and coastal water
Source: https://www.epa.gov/
greeningepa/epa-facility-stormwater-management

## Slide 6: Typical Stormwater Pollutants
Petroleum
  Oil, Grease, Leaking Vehicles
Cooking greases/oils (homes, restaurants)
Sediment (soil)
Trash/garbage
Engine coolants/antifreeze (glycols)
Heavy metals from vehicle break parts and tires
Fertilizers and pesticides (residential, industrial, agriculture uses)
Fecal Bacteria
  Pet Waste, Human Waste from sewer breaks
Detergents from outdoor car washing, mop wash water dumped outdoors, etc.
Liquids from uncovered dumpsters
  printing inks, food, etc

## Slide 8: MCM 2 – Public Education and Involvement
The Borough has posted a number of resources on the municipal stormwater page including educational materials, events, and other information related to stormwater management, pollution prevention, and regulatory requirements.
  Link
The Borough also provides printed copies of these resources through the Borough office. If you require special accommodations to access these materials, please call the Borough office at 717-426-4143.

## Slide 9: Upcoming Public Events
Susquehanna Stand Up Paddleboarding (SUP) will be holding a trail cleanup event along the Susquehanna River Trail on April 23, 2022. The event will run from 9:30am -12:30pm and will begin at River Trail Brewing, 40 East Front St, Marietta.
  https://www.susquehannasup.com/events-
The Lancaster County Conservancy will be holding “Water Week” from June 3-June 11, 2022. Events will include educational workshops as well as a cleanup event. A detailed scheduled with event information will be provided in the coming weeks.
  https://www.lancasterconservancy.org/events/

## Slide 10: MCM 3 – Illicit Discharge Detection and Elimination
Federal regulations define an illicit discharge as “...any discharge to an MS4 that is not composed entirely of stormwater.” This can include household cleaners, lawn products, trash, and organic debris. We ask the public to not contaminate our stormwater system with items such as these. Please do not dispose of grass clippings in the street as they could inadvertently clog our stormwater inlets.
§ 294-34 of the Borough’s Stormwater Management Ordinance allows Borough personnel to obtain access to private property for stormwater related activities. § 294-41 prohibits illicit discharges into the Borough’s stormwater system
The Borough has illicit discharge reporting information on the Borough’s Stormwater (MS4) page. If you witness an illicit discharge, please call The Borough’s phone number 717-426-4143 or fill out the online reporting form.

## Slide 11: Stormwater Ordinance Update 2022
By October 1, 2022, the Borough’s stormwater ordinance must comply with PA DEP’s 2022 ordinance requirements.
ARRO will provide the Borough with a draft ordinance, as well as a list of optional inclusions.
The new ordinance is required to contain information about
  Requirement of all parties with SWM facilities to submit inspection reports to the Borough.
  Green Infrastructure / Low Impact Development
    Design techniques that infiltrate, filter, evaporates, and store runoff close to its source.
    Ideal for site design to replicate predevelopment stormwater infiltration and runoff conditions.
  Roof Drains/Sump Pumps
    Must discharge to infiltration or vegetative BMP whenever feasible.

## Slide 12: Pollution Reduction Plan
The Borough is required to implement a pollution reduction plan as outlined below to meet its 2018-2023 MS4 permit requirements.
  Appendix B- Pathogens (5) – Susquehanna River - Completed
  Appendix C- PCB (5) - Susquehanna River - Completed
  Appendix D – Nutrients, Siltation (4a) – Chesapeake Bay Nutrients/Sediment
  Appendix E-Nutrients, Siltation (5) - Unnamed Tributaries to Susquehanna River, Cause Unknown (5), Other Habitat Alterations (4c)
To date the Borough has completed Appendix B and C.

## Slide 13: Pollution Reduction Plan (Continued)
The Borough’s Appendix D and E requirements are outstanding. To fulfill these requirements, the Borough submitted a Pollution Reduction Plan in 2017 to PA DEP. This plan included the following projects to meet the Borough’s Appendix D, E requirements. Total Reduction of Sediment is 16,665.90.
    Construction of a bioswale parallel to Jones St. Limits from West Hazel Ave to the end of Jones St. This would include regrading and expanding the existing channel, installing ballast and amended soils within the channel, planting deep rooted native perennial species of vegetation, and stabilizing and moving the existing storm outfall.
      Estimated sediment reeducation = 8,803.98
    The installation of a Nutrient Separating Box within the right-of-way near 374 E. Front St. The box would filter stormwater runoff prior to the runoff being released from an outfall into the Susquehanna River.
      Estimated sediment reeducation = 8,332.95
The following projects are also being considered.
    ARRO evaluated the rain gardens installed on Furnace Road for credit as alternative projects.
      Estimated sediment reeducation = 2,366.17
    ARRO is currently evaluating the stream restoration project (Evans Run from Rt. 441 to North Waterford Avenue) for potential PRP credit. Once a plan is provided, ARRO will update the Borough’s current credit calculations and re-evaluate additional projects that may be needed.

## Slide 14: Pollution Reduction Plan Proposed Projects

## Slide 16: Annual Program Updates
The Borough submitted its annual stormwater report for the 2020-2021 reporting cycle in September 2021 via electronic submission to PA DEP.
  PA DEP reviewed the report, deemed it acceptable. No comments were provided.
  All questions and comments from the public should be communicated to the Borough Office (717-426-4143). The report is available for review through the Borough office.
The Borough completed outfall/infrastructure inspections in the fall of 2021. Results will be provided to pw staff.
ARRO, with the assistance of Borough staff, updated the Borough’s MS4 mapping, which will be submitted to PA DEP.
Borough staff will be completing staff training by June 30th related to MS4 compliance.
The Borough will prepare for future PA DEP/EPA audits.
The Borough will submit its annual report by Sept 30, 2022.
The Borough will need to submit and NOI for the next 5-year permit cycle in 2023. The next cycle will begin July 1, 2023. This will require a new PRP plan to be completed by 2029.

## Slide 17: Questions/Comments? Other questions and comments may be submitted to the Borough Office by calling (717) 426-4143 or in person at: 111 East Market Street Marietta PA 17547